|  | ......................... pcs. .............................. € .............................. € GEZE overhead door closer TS 3000 V, for installation on fire and smoke protection doors, with infinitely adjustable closing force size 1 – 4 in accordance with EN 1154, with guide rail, closing force can be set at the side, closing speed and latching action are front adjustable, standard installation on door leaf/hinge side, with mounting plate. Alternative to the guide rail: ( ) with T-Stop guide rail, with integrated opening restrictor Colour: ( ) silver-coloured ( ) dark bronze ( ) white ( ) acc. to RAL |
| --- | --- |
|  | ......................... pcs. .............................. € .............................. € GEZE overhead door closer TS 3000 V BC, for installation on fire and smoke protection doors, with infinitely adjustable closing force size 1 – 4 in accordance with EN 1154, with guide rail, closing force can be set at the side, closing speed, latching action and hydraulic back check are front adjustable, standard installation on door leaf/hinge side, with mounting plate. Alternative to the guide rail: ( ) with T-Stop guide rail, with integrated opening restrictor Colour: ( ) silver-coloured ( ) dark bronze ( ) white ( ) acc. to RAL |